Physics 160 Laboratory

Principles of Modern Physics

Laboratory session #8

# Radioactive Decay Rate and Half-Life:  Pre-Lab

Answer the following questions PRIOR to coming to your lab section.  You will not be allowed to participate in any data-collection until you have shown me your pre-lab and I have graded it.  Please tape or staple the pre-lab on the page opposite to the first page of your write-up; failure to do so will result in losing two points (out of a possible 20).  Show all your work.

- Carefully plot the governing equation (Equation 3), both in the form presented and in the usual linearized form.  In the case of the linear form, use what you learned in the previous lab about Poisson statistics and uncertainty propagation to write an expression for the vertical error bars.  Show your work.

- Given an initial sample size of 1000 particles, how many particles are left after one half life?  Two?  One e-folding time, ?  Two?  Show your work.

Physics 160

Principles of Modern Physics

Laboratory session #8

# Radioactive Decay Rate and Half-Life

Objectives:

•	To observe the exponential decay of a short-lived radioisotope.

•	To measure the decay constant and relate it to the decay time and half-life

## Introduction

Most radioactive processes can only happen once for a given radioactive nucleus, changing the nucleus into another state (possibly a different radioactive state and possibly even a different element) in the process.  This means that for a given sample of radioactive material, the original radioactive substance is constantly being depleted.  Since the rate of these decay events is directly proportional to the number of radioactive nuclei present, the decay is governed by the differential equation:

dN(t)dt=-λN(t),	(1)

where N(t) is the number of nuclei of the original substance at time t, and the decay constant, is positive because the amount of the substance is decreasing.  The solution to this equation is an exponential, namely,

N(t)=Noe−λt 		or	N(t)=Noe−t/τ,      (2)

where No is the number of nuclei at time t = 0s and  is the decay time.  Note that for any system which decays or grows exponentially (not just radioactive nuclei), these equations imply that the rate of decay must also decay exponentially with the same decay constant, i.e.,

dNdt=−λNoe−λt=dNdtoe−λt,	      (3)

where dNdto is the rate of decay at time t = 0.

The Geiger-Müller tube and scaler counts a number of events that is proportional to the number of disintegration events (N) in a given time interval (t).  So, we should be able to use it to observe this exponential behavior.  This week, we will examine a substance which decays relatively rapidly (at least as compared with our time in lab), and we will be able to measure its decay constant .

Equipment:

For this experiment you will be using the same Geiger-Müller tube and associated electronics (integrated high voltage power supply and scaler) that you used last week in the experiment on beta and gamma radiation.  Recall that a Geiger-Müller (GM) tube is a cylindrical capacitor consisting of a middle wire held at a positive potential relative to an outer cylinder.  The potential difference needs to be set to 900 V.  The GM tube is filled with a gas that is ionized when radiation passes through the tube.  The electrons from these ions are so rapidly accelerated toward the positive wire they also ionize the gas in their path resulting in a large pulse of current.  The positive ions drift to the outer cylinder to complete the circuit and are de-ionized by acquiring electrons from the cylinder wall.  The counter adds one to its total for each pulse and reports the final number.  We will use the computer program ST350 to control the counter.  This software is very flexible and allows you to set such things as the counting time per run and the total number of runs to do.  It also records the results in a table which can be saved to disk and read by Excel.  You will be using radioactive sources; be sure to follow the safety instructions given in pre-lab lecture.

Background Radiation:

Before doing any experiment involving counting radioactivity you need to know how much radioactivity is naturally present in the environment in the absence of a sample.  This is called the “background radiation”.  Turn on the ST350 control box and make sure that the multiposition knob is set to REMOTE operation.  Launch the ST350 software from the Programs  Physics 160 menu and set the high voltage to 900 V.  Acquire data that permits you to measure the background count rate to a precision of approximately 10%.  You will need to recall an important feature of counting (or Poisson) statistics that we discussed last week.  Please remember to account for the background count rate when you analyze data from your sample later in this exercise.

Prediction:

You will be given a sample of 137Ba*, a radioactive isotope with a half-life on the order of minutes.  Sketch a graph of what you think its count rate will look like as a function of time.  Linearize the expression for the count rate in the usual way, i.e., determine what needs to be plotted versus what to give a straight line.  Sketch this graph, indicating what will be plotted on each axis.  What will the slope of this line be?

Measurement:

The barium samples you will study come from barium “cows”.  These actually contain a salt of 137Cs.  The long-lived 137Cs is constantly decaying and producing 137Ba* (what kind of decay is this?), which then decays in a short time to 137Ba (what kind of decay is this?).  We can extract the 137Ba* from the column chemically.  These wet sources need to be treated with care.  Follow the safety precautions specified in pre-lab.

The barium samples are quite active.  To minimize the problem of undercounting by the GM tube, you may find it useful to take measurements with the sample in a low shelf.  Any counts that correspond to count rates significantly more than 1000 counts/min (cpm) will have to be corrected for undercounting at the rate of 0.8%/1000 cpm.

Since the samples are short-lived, get set up and ready to take data before getting your sample.  You may choose to use your first sample for making preliminary observations before taking data, such as: what count rates you will be dealing with, what shelf you want to use, how long you want your time windows to be, and how much total time you have for taking data (and hence how many sequential runs you want to do).  (It takes 15-30 min. to recharge the barium cows, so you may have to wait a few minutes for your second sample.  Meanwhile, you could also find the half-life of 137Ba* on the chart of the nuclides and see how this compares with the data-taking time you have decided upon.)

Analysis:

Move your data to Excel.  Note that ST350 records the time of day in hh:mm:ss format.  You can convert this to a more convenient form by:

a)	changing the format of these numbers to “General”.  This will give you the time of day in units of days.

b)	Converting from days to min or s or whatever units you prefer your time data to be in.

c)	Subtracting the first value from all the time entries so that your time record begins at 0.

Correct your counts for background, and, if necessary, for undercounting.  Manipulate your data in whatever way you decided was necessary to get a straight line. Determine the error bars that go with each count value in your plot.  Each point will have a different uncertainty because of the nature of counting statistics. Plot your presumed straight-line data in KaleidaGraph, make a linear fit, and determine its slope.

From these results you should be able to determine the decay constant , the decay time, and the half-life T1/2 (with uncertainties propagated from the uncertainty on your slope).  What do these numbers represent?  How much do you expect your count rate to fall in one decay time, ?  In time T1/2?  In time 2T1/2? In time 3?  Do your data agree with these expectations?

Find the accepted value for the half-life of 137Ba on the chart of the nuclides.  Compare this value quantitatively with your result.

Conclusions:

Draw the usual conclusions (analysis of error and uncertainty, assessment of the measurements made, evaluation of your prediction, things learned, etc.)  What ideas about nuclear radiation processes do these measurements confirm or refute?