Physics 160

Principles of Modern Physics

Laboratory session #9

# Gamma Spectroscopy:  Pre-Lab

Answer the following questions PRIOR to coming to your lab section.  You will not be allowed to participate in any data-collection until you have shown me your pre-lab and I have graded it.  Please tape or staple the pre-lab on the page opposite to the first page of your write-up; failure to do so will result in losing two points (out of a possible 20).  Show all your work.

1.  What is the main distinction between the Geiger-Müller tube you used in the last two labs and the scintillation detector you will use in this lab?

2.  What is the natural linewidth (in MeV) of the 0.662 MeV gamma ray emitted by Ba-137?  Hint:  You know that the half-life of Ba-137 is 153 s from last week’s lab.  You will need to use the energy-time uncertainty principle.

3.  Consider the interaction between a 0.662 MeV gamma ray and an electron in your scintillation detector.  What is the maximum energy that can be transferred to the electron (in MeV) from the gamma ray via Compton scattering?  Hint: You will need the Compton equation.

Physics 160

Principles of Modern Physics

Laboratory session #9

# Gamma Spectroscopy

Objectives:

- To become familiar with the detection of gamma rays using a scintillation-photomultiplier tube detector and with the pulse height analysis technique for determining gamma ray energies.  To understand the origin and location of the Compton edge and the backscatter peak in the pulse height spectrum.

- To calibrate the energy scale of the pulse height analyzer and use that calibration to measure the gamma ray energies of a number of other samples.

Introduction:

So far this term we have used two different kinds of spectroscopy.  We used photon emission spectroscopy to observe the energy levels of the hydrogen atom and electron-impact spectroscopy to observe those of the helium atom.  We have seen that atoms emit discrete spectra due to the quantized nature of their energy levels, and that different atoms display different spectra.  Quantum mechanics predicts that the energy states of nuclei are also quantized, and that spontaneous emission from nuclei of a particular radioactive isotope should therefore exhibit a characteristic spectrum of discrete energies.  When photons are emitted in this process they are called gamma rays, and the technique of measuring and characterizing the discrete energy spectrum of gamma rays is known as gamma spectroscopy.  While in essence similar to our previous spectroscopic experiments, gamma spectroscopy involves much higher energies, which require specialized apparatus for their detection.  This week we will become familiar with the use of a scintillation detector and pulse height (or multichannel) analyzer for use as a gamma ray spectrometer.

Equipment:

The principle component in the scintillation detector is a sodium iodide crystal (NaI).  When a gamma ray from a radioactive sample enters the crystal, some combination of three physical processes can occur: 1) photoelectric emission of an electron that absorbs all of the gamma’s energy, 2) Compton scattering of the gamma ray photon off electrons in the crystal. or 3) pair-production of an electron–positron pair.  In order for the last process to occur with any likelihood, the incoming gamma must have an energy that is at least twice the rest mass energy of the electron (2 X 0.511 MeV = 1.022 MeV).  Although a couple of the samples you will use today emit gammas in this range, unless the gamma is substantially more energetic than 1.022 MeV, the pair-production mechanism is not observable.  The electron liberated by the photoelectric effect is quite likely to scatter around in the NaI crystal, losing energy, until it is captured by an atom in the crystal with an electron vacancy.  In the process of scattering, photons in the visible and UV region of the spectrum are emitted.  Likewise with the Compton scattering process, the recoil electron will ultimately deliver most of its energy as visible and UV photons.  The difference between the photoelectric and the Compton scattering process is that the former process is likely to deposit all or nearly all of the incoming gamma energy it the crystal, while in the latter process, the scattered gamma ray photon may escape the scintillator crystal and therefore deposit only a fraction of its total energy in the crystal.    The low frequency (visible and UV) photons produced when a gamma interacts with the scintillator crystal, enter a photomultiplier tube (PMT), in which a cascade of electrons is generated, again via the photoelectric (and secondary electron) effect.  This has the effect of turning a light pulse into a current pulse, which is then converted into a voltage pulse.  In general, the more energy the original gamma ray had, the larger the voltage pulse that the PMT will produce.  The pulse height analyzer (PHA) divides the range of all possible voltages into bins, or channels, and keeps a running count of how many pulses arrive in each bin, thus producing a histogram of the number of counts versus PMT output voltage.  Unfortunately, while the PMT voltage varies directly with gamma ray energy, that variation is not a simple proportion and it may not even be linear.  This means that the scintillation detector must be calibrated with gamma rays of a number of known energies before it can be used to measure the energy spectrum of an unknown sample.  The calibration results in a relationship that allows you to associate a given channel number with its appropriate energy.

Energy Calibration:

Eight gamma ray emitting samples are available for investigation today.  We will use three of them to calibrate the energy scale on the pulse height analyzer.  In order to calibrate the energy scale over the full range of gamma ray energies we expect to observe, we will use Cd-109, Mn-54, and Co-60 as our calibration sources.  Cobalt-60 has the highest energy gammas (1.173 MeV and 1.333 MeV) and you should start with this sample.

- Turn on the power switch for the SPECTECH Universal Computer Spectrometer box.

- Launch the UCS20 software from the Programs menu on the PC.

- From the SETTINGS menu, select HIGH VOLTAGE/AMPLIFIER.

- Turn detector voltage ON, and set voltage level to 500 V.

- Select the COARSE GAIN = 8.

- Place the Co-60 sample in the sample tray and place it on shelf #3.

- Start data acquisition.

- You should see a pulse height spectrum.  Adjust the COARSE GAIN and the FINE GAIN until you obtain a spectrum for Co-60 that has the two prominent peaks near the far right end of the spectrum.  These are the “photopeaks” associated with the photoelectric effect detection process discussed in the introduction for the 1.173 and 1.333 MeV gammas.  Once you find the right gain settings, do not alter them for the rest of the experiment.

- Acquire a good spectrum for Co-60 and identify the channel numbers that are at the center of each prominent peak.  Note that the software has feature to help you determine the center of a peak.  Feel free to explore these features, although it is satisfactory for the purposes of this lab to “eyeball” the center of the peak by moving the cursor across the peak.  You will want to either print the spectra you obtain today or produce decent sketches of each spectrum, with labeled axes in your notebook.  Next place the Mn-54 sample in the sample tray and acquire a spectrum.  Do NOT change the gain settings.  Identify the channel number at the center of the peak corresponding to the 0.835 MeV gamma ray emission from Mn-54.

- Finally, acquire a spectrum for Cd-109 and identify the channel number associates with its 0.088 MeV gamma line.

- Use KALEIDAGRAPH to plot the known gamma energies versus the channel number at which each photopeak was centered.  Does the relationship appear linear?  Try a linear least squares fit.  You should obtain an equation that relates the channel number to the energy deposited in the scintillator crystal.  Note that this equation depends on the voltage applied to the PMT (500 V) and the amplifier gain.  Altering either of these settings will alter the energy calibration equation.

| Source | Gamma Energies of interest (MeV) | Principle Decay mode |
| --- | --- | --- |
| Barium (Ba) 133 | 0.081, 0.276, 0.303, 0.356, 0.384 | Electron capture |
| Cadmium (Cd) 109 | 0.088 | Electron capture |
| Cesium (Cs) 137 | 0.662 | Negative Beta |
| Cobalt (Co) 57 | 0.122, 0.136 | Electron capture |
| Cobalt (Co) 60 | 1.173, 1.333 | Negative Beta |
| Manganese (Mn) 54 | 0.835 | Electron capture |

Table I: Standard gamma sources

Measurements:

- Check your calibration by acquiring spectra for the remaining samples in the table above, determining the energies of the characteristic gammas using your energy calibration equation, and comparing the energies obtained to the values given in the table above.

- Acquire the spectrum for Na-22.  You should observe two prominent peaks.  Determine the energies of each.  The higher energy peak is associated with a transition from an excited state to the ground state in Ne-22, the daughter nucleus produced by the positive beta decay of Na-22.  Positive beta decay involves the emission of a positron (or anti-electron).  The positron eventually finds an electron and the two annihilate to produce two gamma ray photons that emerge at 180° to one another (to conserve momentum) and each has an energy equal to the rest mass energy of the electron (or positron).  Only one of these two “annihilation” gammas can enter your detector.  Verify that the energy associated with the lower energy peak in the spectrum of Na-22 has energy about equal to the rest mass energy of the electron.

- Identify the unknown:  Place the unknown source under your detector.  Acquire a spectrum of its gamma rays and identify its elements.  Hint: the unknown contains one the calibration sources plus one of the following:

| Source | Gamma Energies (MeV) | Principle Decay Mode |
| --- | --- | --- |
| Sodium (Na) 24 | 1.368, 2.754 | Negative Beta |
| Zinc (Zn) 65 | .511, 1.115 | Positive Beta/Electron capture |
| Silver (Ag) 108 | 0.433, 0.614, 0.723 | Electron capture/Neg. Beta |
| Rhodium (Rh) 102 | 0.475, 0.631, 0.698, 0.766 | Electron capture/Neg. Beta |

Table II: Possible components of the unknown source.

Analysis and Questions:

- Return to the spectrum of Cs-137.  Consider whether the width of the peak you measure is determined by the resolution of your instrument or whether you are seeing the true “uncertainty” or “natural linewidth” in the excited state of Ba-137, as determined in the prelab.

- Now consider the other features of the spectrum of Cs-137.  Note that the channels just below the 0.662 MeV photopeak have very few counts, but that the “continuum” counts display a “shelf” somewhat below the energy of the photopeak.  This continuum is called the Compton scattering continuum and it results from the Compton scattering of the incoming gamma off an electron in the crystal, and the subsequent escape of the gamma from the crystal after having lost some energy in the scattering process.  Only the energy that the gamma loses inside the crystal is detected.  The remaining energy in the photon is carried out of the detector and is not measured.  Does the Compton “shelf” appear at the energy predicted by your prelab?  There may be another peak on the Compton scattering continuum called the backscatter peak that coincides with a Compton scattering event in which the electron escapes and the scattered gamma ray photon is absorbed.  Can you identify this peak?  If so, at what energy does the backscatter peak occur and does this make sense?

- Use the Chart of the Nuclides to identify the decay scheme for all the samples you used today.  In particular, identify the isotope associates with the nuclear transition that produced each gamma ray line you observed.  For example, the 0.662 MeV gamma from Cs-137 is actually due to a transition in Ba-137, the daughter nucleus produced in the beta-decay of Cs-137.

Conclusions:

Along with your usual sorts of conclusions, include such considerations as:  How reliable is your calibration curve?  What sort of uncertainty would be reasonable in your energies?  What were the elements in the unknown sample?  How does your data support this conclusion?